## Slide 1
Potential of neural network triggers for the Water-Cherenkov detector array of the Pierre Auger Observatory
Paul Filip - High Energy Universe seminar 01.06.23

## Slide 2: SD Array / trigger hierarchy / WCD time traces
  Around ~1600 stations
  Triangular grid spacing
  Ongoing upgrade from UB UUB
    3 Water-Cherenkov detectors (WCD)
    1 Surface scintillator detector (SSD)
    1 Radio antenna

## Slide 3: SD Array / trigger hierarchy / WCD time traces
  Around ~1600 stations
  Triangular grid spacing
  Ongoing upgrade from UB UUB
    3 Water-Cherenkov detectors (WCD)
    1 Surface scintillator detector (SSD)
    1 Radio antenna
Too comput. expensive to read all measured data at all times!
Implement trigger hierarchy

## Slide 4: SD Array / trigger hierarchy / WCD time traces
T1 – level T2 – level T3 – level
Raised at …station-level … CDAS level
Rate
Physics

## Slide 5: SD Array / trigger hierarchy / WCD time traces
T1 – level T2 – level T3 – level
Raised at …station-level … CDAS level
Rate
Physics

## Slide 6: SD Array / trigger hierarchy / WCD time traces
T1 – level T2 – level T3 – level
  Threshold trigger (Th)
  Time over threshold (ToT) & ToT-like triggers
Raised at …station-level … CDAS level
Rate
Physics

## Slide 7: SD Array / trigger hierarchy / WCD time traces
  Measured in /
  sampling frequency

## Slide 8: SD Array / trigger hierarchy / WCD time traces
  QGSJET-II.04 protons with
  Background electronic noise measured in field

## Slide 9: SD Array / trigger hierarchy / WCD time traces
  QGSJET-II.04 protons with
  Background electronic noise measured in field

## Slide 10: Current station-level trigger algorithms
  Threshold trigger (Th)
    PMTs register signal ( for T1)
    Threshold must be exceeded simultaneously for all PMTs

## Slide 11: Current station-level trigger algorithms
  Threshold trigger (Th)
    PMTs register signal ( for T1)
    Threshold must be exceeded simultaneously for all PMTs
Trigger thresholds defined for UB traces; measured data must be filtered and downsampled
Different binning!

## Slide 12: Current station-level trigger algorithms
  Time over threshold (ToT)
    More than 12 bins with in any 120 bin window
    At least 2 out of 3 PMTs meet above critera

## Slide 13: Current station-level trigger algorithms
  ToT deconvoluted (ToTd)
    Deconvolute input data stream with exponential factor
    Feed deconvoluted trace into ToT algorithm

## Slide 14: Current station-level trigger algorithms
  Multiplicity of positive steps (MoPS)
    Count number of rising flanks within 120 bin window
    At least 2 PMTs have 4 (or more) rising flanks

## Slide 15: Trigger performance
  100% eff.
  Can we do better?
    Photon search
    Neutrino search
    GZ effect
    …

## Slide 16: Trigger performance
  100% eff.
  Can we do better?
    Photon search
    Neutrino search
    GZ effect
    …
  Adjust thresholds
    Better sensitivity
    Worse specificity
    What about SNR?

## Slide 17: Trigger performance
  Adjust thresholds
    Better sensitivity
    Worse specificity
    What about SNR?
    gets way worse!
  Use ML triggers
    Bayesian classifier
    Neural networks
  Design limitation
    Bandwidth limit
    Performance limit
    Storage limit
Auger operation point:

## Slide 18: Trigger performance
  Adjust thresholds
    Better sensitivity
    Worse specificity
    What about SNR?
    gets worse!
  Use ML triggers
    Bayesian classifier
    Neural networks
  Design limitation
    Bandwidth limit
    Performance limit
    Storage limit
Cond. trigger efficiency
Ratio of air showers that are detected from all showers that can theoretically be detected
Auger operation point:

## Slide 19: Intermezzo: Bayesian classifier
  Likelihood analysis of signal / background dataset only
  Use likelihood ratio to distinguish

## Slide 20: Intermezzo: Bayesian classifier
  Likelihood analysis of signal / background dataset only
  Use likelihood ratio to distinguish

## Slide 21: Intermezzo: Bayesian classifier
  Likelihood analysis of signal / background dataset only
  Use likelihood ratio to distinguish

## Slide 22: Intermezzo: Bayesian classifier
  Use 120 bins for shape distinction
  Good resolution for large signals

## Slide 23: Intermezzo: Bayesian classifier
  Use 120 bins for shape distinction
  Bad resolution for small signals

## Slide 24: Intermezzo: Bayesian classifier

## Slide 25: Conclusion: Bayesian classifier
  (Theoretically) promising…
    Best singular test statistic (Neymann-Pearson-Lemma)
    Simple / fast hardware implementation
    Minimal diskspace required
  … but (realistically) much work needed
    Trigger efficiency bad at small signals
    Finetuning process of complicated
    Thoughts / Suggestions welcome… =)

## Slide 26: Neural network triggers
  Feed subset of trace to neural network architecture
  Teach it to distinguish between Signal / Background

## Slide 27: Convolutional neural networks
  Specialized for image / object recognition
    Different filters (matrices) scan parts of an image
    Large output where filter and image look alike
    Emergent object detection through multiple layers
  Treat WCD time traces as pictures
    3 PMTs represent image height
    Temporal component as width
Input image
Feature map
Taken from https://cs.nyu.edu/~fergus/tutorials/deep_learning_cvpr12/

## Slide 28: Convolutional neural networks
  Opt for 120 bin input size
    Shown to work for ToT, ToTd, MoPS
    Compromise network size and input information
  Data motivated network architecture
    2D convolutional layer recognizes correlation between 3 PMTs
    Dense layer propagates extracted features to output
  Evaluate performance for example architecture
    Train on 32k simulated proton showers with

## Slide 29: Convolutional neural networks

## Slide 30: Convolutional neural networks
  CNN able to identify single particles
  Triggers everything! (…that‘s bad)

## Slide 31: Convolutional neural networks
  Redefine „signal“
    Ignore low

## Slide 32: Convolutional neural networks
  Redefine „signal“
    Ignore low
    High low rate
  Overall performance
    CNN better at low
    Classical triggers better at high
  Ideas for improving
    Adjust architecture
      Kernel size
      …
    Filter & downsample WCD time traces

## Slide 33: Intermezzo: Filtering and downsampling
Full bandwidth Filtered & downsampled
Signal duration: ~500 bins
Signal duration: ~167 bins

## Slide 34: Convolutional neural networks
  Filtered & downsampled traces preferred over full bandwidth traces at equal input size

## Slide 35: Convolutional neural networks
  Filtered & downsampled traces preferred over full bandwidth traces at equal input size
  Filtered & downsampled input preferred for equal time slices as well
  Smoothing of trace shape reduces electronic noise?

## Slide 36: Recurrent neural networks
  Long-Short-Term-Memory (LSTM) architecture
    Has internal connections that point from output to input
    Earlier processed information can influence later calculations
    Treat time series very efficiently / elegantly
From https://colah.github.io/posts/2015-08-Understanding-LSTMs/

## Slide 37: Recurrent neural networks
  Long-Short-Term-Memory (LSTM) architecture
    Has internal connections that point from output to input
    Earlier processed information can influence later calculations
    Treat time series very efficiently / elegantly
  Forget-Gate
    What to keep from previous iterations
  Input-Gate
    What to save from this iteration
  Output-Gate
    What to output from (updated) cell state
From https://colah.github.io/posts/2015-08-Understanding-LSTMs/

## Slide 38: Recurrent neural networks
  Long-Short-Term-Memory (LSTM) architecture
    Has internal connections that point from output to input
    Earlier processed information can influence later calculations
    Treat time series very efficiently / elegantly
  Forget-Gate
    What to keep from previous iterations
  Input-Gate
    What to save from this iteration
  Output-Gate
    What to output from (updated) cell state
From https://colah.github.io/posts/2015-08-Understanding-LSTMs/

## Slide 39: Recurrent neural networks
  Long-Short-Term-Memory (LSTM) architecture
    Has internal connections that point from output to input
    Earlier processed information can influence later calculations
    Treat time series very efficiently / elegantly
  Forget-Gate
    What to keep from previous iterations
  Input-Gate
    What to save from this iteration
  Output-Gate
    What to output from (updated) cell state
From https://colah.github.io/posts/2015-08-Understanding-LSTMs/

## Slide 40: Recurrent neural networks
  LSTM performance better than Th trigger
  Can be better than ToT for
  Just 44 parameters
  Effects on event level detection efficiency?

## Slide 41: Recurrent neural networks
  Most drastic gains at inclinations ()
  Possibly higher gains at …

## Slide 42: Summary / Outlook
  Test data-driven, machine learning concepts
    Bayesian classifier promising, but needs lots of finetuning
    Neural networks work out of the box but „too efficient“
    Control trigger rate by implementing charge cut
  Convolutional neural networks
    Performance of simple CNN architectures on par with Th-Trigger
    Filtered & downsampled data preferred over full bandwidth input
  LSTM / recurrent neural networks
    First results indicate better performance than ToT
    Large gains in event detection efficiency at high shower angles

## Slide 43: Summary / Outlook
  Lot of work needed until prototyping stage is left
    Presented results stem from simulations only
    No primary distinction, only data from protons considered
    Only one hadronic interaction model (QGSJET-II.04)
  Ground work is completed
    Key assumptions have been tested and verified to hold true
    Analysis chain is implemented and ready to run
  Upcoming dataset of easily accessible () WCD time traces
    40k (proton primary) events, tagged by , , , , …
    Please tell us what other data you would be interested in

## Slide 44
Backup

## Slide 45: Random traces – Calibration

## Slide 46: Random traces – Calibration

## Slide 47: Random traces – Calibration

## Slide 48: Random traces – Calibration

## Slide 49: Random traces – Power spectrum

## Slide 50: Trace building

## Slide 51: Muon cut

## Slide 52: Kernel size

## Slide 53: Network parameters

## Slide 54: LSTM permutations

## Slide 55: Sample headline: Arial 24pt bold
Subline: Arial 20pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing
…
  …
  …
Subline: Arial 20pt bold

## Slide 56: Sample headline: Arial 24pt bold
Subline: Arial 20pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing
…
  …
  …
Subline: Arial 20pt bold

## Slide 57: Sample headline: Arial 24pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing elitr, sed diam nonumy eirmod
  At vero eos et accusam et justo duo dolores et ea rebum. Stet clita kasd gubergren
    No sea takimata sanctus est Lorem ipsum dolor sit amet.
Lorem ipsum dolor sit amet, consetetur sadipscing elitr, sed diam nonumy eirmod tempor invidunt
…
…

## Slide 58: Sample headline: Arial 24pt bold
Subline: Arial 20pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing
…
  …
  …
Subline: Arial 20pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing elitr, sed diam nonumy eirmod tempor invidunt ut labore et dolore magna aliquyam erat, sed diam voluptua.
At vero eos et accusam et justo duo dolores et ea rebum. Stet clita kasd gubergren.

## Slide 59: Sample headline: Arial 24pt bold
Subline: Arial 20pt bold
Lorem ipsum dolor sit amet, consetetur sadipscing
…
  …
  …
Subline: Arial 20pt bold

## Slide 60: Sample headline: Arial 24pt bold

## Slide 61: Sample headline: Arial 24pt bold